## Slide 1: Electrical Service Design of a 10 Storeyed 2 Unit Apartment Building
Submitted By
1806164-Zafrin Jahan Nikita
1806167-Moytri Ghosal
1806168-Sandipa Chowdhury
1806172-Sudipto Pramanik
1806173-Sadia Tasnim Mou
1806179-Protoye Kumar Mohanta
1806190-Rudmila Rahman

## Slide 2: Steps of the Design Procedure
Layout Design (Typical Floor , Ground Floor, Basement, Rooftop)
Fixture Calculation
Fixture Placement
Conduit Calculation
Conduit Placement (Emergency + Main lines)
Circuit Diagram Calculation
Circuit Diagram Placement

## Slide 3: Steps of the Design Procedure
Fixture Calculation
For no of lights
For no of fans
N =

## Slide 4: Steps of the Design Procedure
Conduit Calculation
Symbol | Wire Rating (single core)-mm2 | Current Rating (ampere) | GI Pipe Diameter (inch)
C1 | 2x1.5 | 5A | ¾
C2 | 4x1.5 | 5A | ¾
C3 | 6x1.5 | 5A | ¾
C4 | 8x1.5 | 5A | ¾
C5 | 10x1.5 | 5A | 1
C6 | 12x1.5 | 5A | 1
C7 | 14x1.5 | 5A | 1
C8 | 2x4+4 ECC | 15A | 1
C9 | 2x6+6 ECC | 20A | 1

## Slide 5: Steps of the Design Procedure
Layout Design (Typical Floor)

## Slide 6: Steps of the Design Procedure
Fixture Placement(Typical Floor with fixture)

## Slide 7: Steps of the Design Procedure
Conduit Placement (Typical Floor with main lines)

## Slide 8: Steps of the Design Procedure
Conduit Placement (Typical Floor with emergency lines)

## Slide 9: Steps of the Design Procedure
Layout Design (Ground Floor )

## Slide 10: Steps of the Design Procedure
Fixture Placement (Ground Floor with fixture )

## Slide 11: Steps of the Design Procedure
Conduit Placement (Ground Floor with conduit)

## Slide 12: Steps of the Design Procedure
Layout Design (Basement)

## Slide 13: Steps of the Design Procedure
Fixture Placement (Basement with fixture)

## Slide 14: Steps of the Design Procedure
Conduit Placement (Basement with conduit)

## Slide 15: Steps of the Design Procedure
Layout Design (Rooftop)

## Slide 16: Steps of the Design Procedure
Layout Design (Rooftop with other settings)

## Slide 17: Steps of the Design Procedure
Circuit Diagram Calculation
(Typical floor)

## Slide 18: Steps of the Design Procedure
Circuit Diagram Calculation (Typical floor)

## Slide 19: Steps of the Design Procedure
Circuit Diagram Calculation
(Typical floor)

## Slide 20: Steps of the Design Procedure
Circuit Diagram Calculation (Ground floor)

## Slide 21: Steps of the Design Procedure
Circuit Diagram Calculation (Ground floor)

## Slide 22: Steps of the Design Procedure
Circuit Diagram Calculation (Ground floor)

## Slide 23: Steps of the Design Procedure
Circuit Diagram Calculation (Basement)

## Slide 24: Steps of the Design Procedure
Circuit Diagram Calculation (Basement)

## Slide 25: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 26: Steps of the Design Procedure
Circuit Diagram Placement (Main and Emergency Distribution Board Diagram)

## Slide 27: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 28: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 29: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 30: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 31: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 32: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 33: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 34: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 35: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 36: Steps of the Design Procedure
Circuit Diagram Placement

## Slide 37: Contribution
1806164, 1806172, 1806173: Circuit Diagram, Overall Calculation
1806167, 1806168, 1806179: Ground Floor, Wiring, Fixture Placement and Calculation
1806172, 1806190: Typical floor, Basement, Rooftop, Ground Floor (Transformer and Generator Room)

## Slide 38
Thank You!